INSTALLING OF OUTLET AND INLET VALVE

[image: image1.png]


[image: image2.jpg]



[image: image3.jpg]Il - RSSEMBLY OF CISTERN TANK

@ Attach the screws to the
battom of the cistern (see
stack of parts indicated
beiow

@ Position the foam seal on
the nut th)

© Position the cistern on
the toilet bowl and
attach it with the wing

Screw MBXT8 nLRs
Washer
Tapered joint
Bottom of tank i
i
Wesher — gt
Hexagonal nut ———-———pm= -n
Cisterm wall N

\

b M‘ﬂ%





[image: image4.png]287 mm

e o

107 mm

7825





I- Assembly of cistern tank

II-
Installing the push button
[image: image5.jpg]@ Screw the button down, without
pushing the central part.




[image: image6.jpg]Servicing the valve

@ To access the valve, unscrew
the assembly as shown.




[image: image7.jpg]1









III-    Maintenance

�


























�






































BOTTOM INLET VALVE 93B 





�



































�





























�








�




















SINGLE FLUSH SWITCH 22A











�



































