
[image: image1.png]SIAMP





Parts List

[image: image2.jpg]- * »— \t“ ;- 5:;.::&37



[image: image3.jpg]



Parts Supplied




	Ref
	Description
	Qty

	A
	Pushbutton
	1

	B
	Valve body
	1

	C
	Rubber

Washer
	1

	D
	Fixing nut
	1

	E
	Sealing

Gasket
	1

	F
	Inlet valve
	1

	G
	Inlet Rubber 

Washer
	1

	H
	Backnut
	1


Fittings supplied

	Ref
	Description
	Qty

	I
	Spanner
	1

	J
	Bolt
	2

	K
	Washer
	4

	L
	Sealing washer
	2

	M
	Nut
	2

	N
	Butterfly nut
	2


Tools required not supplied

Slotted screwdriver and adjustable spanner.

Before you Start

· Read these instructions carefully.

· Check the pack and make sure you have all the parts on the pack list.

· Remove all packaging from pottery and check for surface damage or defects.

· Prepare a firm working surface (e.g; floor or bench) for cistern assembly, covering work surface with cloth to prevent scratching the glazed faces of the cistern.

Assembling the Inlet Valve

[image: image4.jpg]



Place Inlet valve (F) through Inlet hole with inlet Rubber Washer (G) inside the cistern.

Secure with backnut (H) but ensure float moves freely up and down valve body.

Slide bolt (J) through washer (K) and sealing washer (L) then place through cistern and secure with washer (K) and nut (M) using adjustable spanner.

Assembling Outlet Valve

[image: image5.jpg]



Assemble the valve body (B) through cistern with rubber washer (C) on inside of the cistern.

Secure Fixing nut (D) with the spanner (I).

Assemble Cistern to Pan

Slide sealing gasket (E) over fixing nut

Slide cistern onto W.C. backplate by locating screws through W.C.

Secure using butterfly nut (N).


Setting Water Level

[image: image6.jpg]



Connect the supply to the inlet valve.

Allow cistern to fill and by screwing the grey bolt slide the float to set water level to waterline.

Ensure movement of float is not restricted.

Valve Height

[image: image7.jpg]



Try the lid on the cistern to see if the valve is too high or too low :

To adjust :

· remove clips (x2) (1)

· unclip rod (2)

· Adjust to correct height

· Replace clips (x2) (1)

· Push down at point (3) and clip rod in at (2).

Assembling the button

[image: image8.jpg]



Screw the button down, without pushing the central part.

The Finished Assembly inside the cistern

[image: image9.jpg]



Servicing the valve
[image: image10.jpg]



To access the valve, unscrew the assembly as shown.

Care & Use

Wipe clean with a soft damp cloth around the WC suite.

Never use scourers or abrasives.

For further enquiries

Contact Customer Services on ___________ or your local B&Q store. 

SIAMP, 4 quai Antoine 1er BP 219 MC 98007 MONACO Cedex

Visit us at www.siamp.com

Assembly Instructions


Single Flush Valve Storm 33


Bottom Inlet Valve Compact 99B








W.C.





cistern





Butterfly nut (N)





B





A





C





D





E





F





H





G





I





J





K





L





N





M





D





E





I





J





L





K





N





M





(2)





(1)





(3)








_1089789756.bin

