INSTALLING OF OUTLET AND INLET VALVE

[image: image1.png]


[image: image2.jpg]



[image: image3.jpg]Il - RSSEMBLY OF CISTERN TANK

@ Attach the screws to the
battom of the cistern (see
stack of parts indicated
beiow

@ Position the foam seal on
the nut th)

© Position the cistern on
the toilet bowl and
attach it with the wing

Screw MBXT8 nLRs
Washer
Tapered joint
Bottom of tank i
i
Wesher — gt
Hexagonal nut ———-———pm= -n
Cisterm wall N

\

b M‘ﬂ%





[image: image4.png]287 mm

e o

107 mm

7825





I- Assembly of cistern tank

II-
Installing the push button
[image: image5.jpg]V - INSTALLING THE BUTTON

@ Once you have finished adjusting, make sure that
the gray callar (c} is unscrewed entirely.

@ Fit the lid
@ if the lid hole (D) is 2 38 mm. remove the rose (b)
@ Position the btton on the lid and screw down uatif it

locks.
-




[image: image6.jpg]Replacement of the seal

@ Open the cistem and
tum the mechanism a
quarter turn to
separate it from the
plug

@ Remove the seal
attaching cfip

@ Replace the seal

© Fit the clip then
rejocate the
mechanism, locking it
on the plug

N @ Close the cistern

making sure that the
control button is
correctly assembied
(see § V)








III-    Maintenance


�























�






































BOTTOM INLET VALVE 93B 





�


























�























�








�


























DUAL FLUSH SKIPPER 36A




















