[image: image7.jpg]


INSTALLATION GUIDE                                                                                               
[image: image8.jpg]


[image: image1.jpg]



[image: image9.jpg]



Remote control with cable

Keep these instructions safety for any maintenance operations

ADVICE

Before you start:

· Read these instructions carefully.

· Check the pack and make sure you have all the parts on the pack list.

· Remove all packaging from pottery and check for surface damage or defects.

· Prepare a firm working surface (e.g floor or bench) for cistern assembly, covering work surface with cloth to prevent scratching the glazed faces of the cistern.

1/ PARTS and FITTINGS SUPPLIED

[image: image10.jpg]


[image: image11.jpg]



[image: image12.wmf] 

H

 

D

 

[image: image13.jpg]


[image: image14.jpg]


   

[image: image15.jpg]



[image: image16.jpg]


[image: image17.jpg]



[image: image18.png]SIAMP

Monaco



[image: image19.jpg]


[image: image20.jpg]


















2/ ADJUSTMENT OF OVERFLOW


Measure diameter D of cover hole 
Measure height H from cover top to cistern bottom. 

In the table below, choose the right level for the overflow shortening


	Cistern height H
	Overflow tube shortening

	D from 18 to 38 mm
	D from 38 to 50 mm
	Cut between

	> 332 mm
	> 350 mm
	No cut

	327 to 332
	345 to 350
	A and B

	322 to 326
	340 to 344
	B and C

	317 to 321
	335 to 339
	C and D

	312 to 316
	330 to 334
	D and E

	307 to 311
	325 to 329
	E and F

	302 to 306
	320 to 324
	F and G

	297 to 301
	315 to 319
	G and H

	292 to 296
	310 to 314
	H and I

	287 to 291
	305 to 309
	I and J

	282 to 286
	300 to 304
	J and K

	277 to 281
	295 to 299
	K and L

	272 to 276
	290 to 294
	L and M


3/ ASSEMBLING THE OUTLET VALVE







4/ ASSEMBLING CISTERN TO PAN




Slide slotted screw H through plastic washer J and sealing washer I, then place trough cistern and secure with washer J and nut K using a 6 mm wrench. Slide sealing gasket G over socket nut. Slide cistern onto WC back plate by locating screws through WC. Secure using butterfly nut 

5/ ASSEMBLING THE INLET VALVE



A: Bottom inlet valve





Place inlet valve through inlet hole with inlet rubber washer inside the cistern. Secure with back nut but ensure float moves freely up and down valve body.

B: Side inlet valve






Place inlet valve through inlet hole with plastic washer inside the cistern. Secure with back nut but ensure float moves freely up and down valve body.

6/ CONNECT TO WATER SUPPLY

Leak tightness is obtained by using a fibre seal. Do not use sealing compound.

7/ SETTING FULL FLUSH


[image: image2.jpg]


   [image: image3.jpg]




8/ SETTING SMALL FLUSH






9/ SETTING DEAD WATER LEVEL

[image: image4.jpg]



10/ ASSEMBLING THE BUTTON







1/  Place Pushbutton A  on lid and screw Button nut  B
(Use rosette L when lid hole diameter is less than 38 mm)

2/  Clip Cable case  

3/  Place lid back on top of cistern

MAINTENANCE

[image: image5.jpg]e T P



                        [image: image6.jpg]3
k
1
¥
i

H
ol
i
3
3





After a few years, depending on the nature of local water, the valve P 58 may require to changed. To access the valve, turn off water inlet, flush toilet to empty cistern, unscrew pushbutton by winding anti clockwise, remove it, lift cistern lid, unclick body of outlet valve by turning it ¼ turn counter clockwise. Replace valve, turn on water supply and check for leaks into bowl. When maintenance is over, repeat all the steps in the opposite order.

CUSTOMER GUARANTEE

You have just installed a flushing device forming a part of the SIAMP range and we would like to thank you for your confidence in our products. As expert in technical equipment and accessories for the toilet, SIAMP has taken every possible measure to apply all the necessary care to design and manufacturing of this product, offering a ten year guarantee except for rubber parts and man power.

For any complementary information, or indicated claim, please contact your dealer or SIAMP directly:

Phone 00.377.93.15.53.75, E-mail: contact@siamp.com
Due to continuing product development we reserve the right to amend technical details without prior notice




�











�














I





H





�











J








B





F





F





A





D





B





�








E





F





D








�





�





Cistern





�








�














WC Back plate





A





20 mm





Water level





Over flow level





To ensure a forceful washing, it may be necessary to get more dead water remaining into the cistern. To increase this level slide obturator A from right to left. (mark 0 is mini, mark 6 is maxi)


Increasing the dead water level decreases the volume of flush. If necessary adjust once more (cf sections 7 and 8)





A





A





Mark 17





Mark 0





To adjust small flush (usually 3 litres), move cursor A up or down.


(mark 0 is maxi, mark 17 is mini)





�








�








1/  Assemble the valve body C through  cistern with socket seal D on inside of the cistern








2/  Secure socket nut E with spanner F.


When tightening hold internal base of valve to ensure its position is not altered. Do not over tighten, no more than ¼ turn beyond hand tight





6543210





16


14


12


10


8


6


4


2


0





17


15


13


11


9


7


5


3


1





C





Valve P58 


Ref : 344905





�








A























E





C





A





B





G





Cable case





Dual Flush Outlet Valve


OPTIMA 50


Cable remote control








Keep these instructions safety for any maintenance operations











�





3





2





1





�











Turn on water. Allow cistern to fill and by tightening or loosening the adjustment screw A on the inlet valve, set water level for full flush. Beware that you respect a safety level  (20 mm water clearance)











�














A





A	Pushbutton		G	Sealing Gasket





B	Button Nut		H	Slotted Screw





C	Valve Body		I	Sealing Washer





D	Socket Seal		J	Plastic Washer





E	Socket Nut		K	Nut





F	Spanner		L	Butterfly Nut





M	Rosette  (option)





Tools required (not supplied) : Slotted screw driver, fine tooth saw and wrench 6 mm





M





L





K











Page 8 sur 8

